## DEV
描述 | 值 | 备注
设备地址 | 1
设备类型 | 0
访问密码
传输原因字节 | 2
设备地址字节 | 2
信息地址字节 | 3
选择超时 | 6 | 秒
执行超时 | 6 | 秒
测试周期 | 10 | 秒
重连周期 | 10 | 秒
DI周期 | 500 | 毫秒
AI周期 | 1000 | 毫秒
CI周期 | 3600 | 秒
SG周期 | 3600 | 秒
FT周期 | 600 | 秒
WV周期 | 600 | 秒
总招周期 | 600 | 秒
同步时钟周期 | 3600 | 秒

## OBJ
描述 | 区类型 | 区号 | 起始地址 | 信息数目
遥信 | COS | 1 | 0 | 0
事件顺序记录 | SOE | 2 | 0 | 0
档位 | STP | 3 | 0 | 0
软压板 | RYB | 4 | 0 | 0
硬压板 | YYB | 5 | 0 | 0
故障 | ALM | 6 | 0 | 0
告警 | WAR | 7 | 0 | 0
遥测 | AI | 8 | 0 | 0
模拟量 | AIP | 9 | 0 | 0
电度量 | CI | 10 | 0 | 0
开出 | DO | 11 | 0 | 0
模拟输出 | AO | 12 | 0 | 0
定值 | SG | 13 | 0 | 0
参数 | SP | 14 | 0 | 0
运行区号 | ASG | 15 | 0 | 0
保护故障信息 | FT | 16 | 0 | 0

## DI
描述 | 点模式 | 上报COS | 上报SOE | 存库 | 正常状态 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
DI0 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 0 | -1 | -1
DI1 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 1 | -1 | -1
DI2 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 2 | -1 | -1
DI3 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 3 | -1 | -1
DI4 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 4 | -1 | -1
DI5 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 5 | -1 | -1
DI6 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 6 | -1 | -1
DI7 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 7 | -1 | -1
DI8 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 8 | -1 | -1
DI9 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 9 | -1 | -1
DI10 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 10 | -1 | -1
DI11 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 11 | -1 | -1
DI12 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 12 | -1 | -1
DI13 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 13 | -1 | -1
DI14 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 14 | -1 | -1
DI15 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 15 | -1 | -1
DI16 | Normal | Enable | Enable | No | 0 | 0 | INT32 | 16 | -1 | -1
[11 empty] | 数据类型 | 编码
[11 empty] | INT32 | 4
[11 empty] | UINT32 | 8
[11 empty] | FLOAT32 | 10
[11 empty] | FLOAT64 | 11
[11 empty] | STRING32 | 12

## AI
描述 | 标量因子 | 偏移量 | 单位 | 下限 | 上限 | 存库 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
AI0 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 0 | -1 | -1
AI1 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 1 | -1 | -1
AI2 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 2 | -1 | -1
AI3 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 3 | -1 | -1
AI4 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 4 | -1 | -1
AI5 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 5 | -1 | -1
AI6 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 6 | -1 | -1
AI7 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 7 | -1 | -1
AI8 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 8 | -1 | -1
AI9 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 9 | -1 | -1
AI10 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 10 | -1 | -1
AI11 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 11 | -1 | -1
AI12 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 12 | -1 | -1
AI13 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 13 | -1 | -1
AI14 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 14 | -1 | -1
AI15 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 15 | -1 | -1
AI16 | 1 | 0 | A | -32767 | 32767 | No | 0 | FLOAT32 | 16 | -1 | -1

## CI
描述 | 点模式 | 上报标示 | 标量因子 | 偏移量 | 单位 | 存库 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
CI0 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 0 | -1 | -1
CI1 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 1 | -1 | -1
CI2 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 2 | -1 | -1
CI3 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 3 | -1 | -1
CI4 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 4 | -1 | -1
CI5 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 5 | -1 | -1
CI6 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 6 | -1 | -1
CI7 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 7 | -1 | -1
CI8 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 8 | -1 | -1
CI9 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 9 | -1 | -1
CI10 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 10 | -1 | -1
CI11 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 11 | -1 | -1
CI12 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 12 | -1 | -1
CI13 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 13 | -1 | -1
CI14 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 14 | -1 | -1
CI15 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 15 | -1 | -1
CI16 | Transition | Run Value | 1 | 0 | kWh | No | 0 | INT32 | 16 | -1 | -1

## DO
描述 | 点模式 | 脉冲高间隔 | 脉冲低间隔 | 正常状态 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
DO0 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 0 | -1 | -1
DO1 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 1 | -1 | -1
DO2 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 2 | -1 | -1
DO3 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 3 | -1 | -1
DO4 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 4 | -1 | -1
DO5 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 5 | -1 | -1
DO6 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 6 | -1 | -1
DO7 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 7 | -1 | -1
DO8 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 8 | -1 | -1
DO9 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 9 | -1 | -1
DO10 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 10 | -1 | -1
DO11 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 11 | -1 | -1
DO12 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 12 | -1 | -1
DO13 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 13 | -1 | -1
DO14 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 14 | -1 | -1
DO15 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 15 | -1 | -1
DO16 | Trip/Close | 0 | 0 | 0 | 0 | INT32 | 16 | -1 | -1

## AO
描述 | 标量因子 | 偏移量 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
AO0 | 1 | 0 | 0 | FLOAT32 | 0 | -1 | -1
AO1 | 1 | 0 | 0 | FLOAT32 | 1 | -1 | -1
AO2 | 1 | 0 | 0 | FLOAT32 | 2 | -1 | -1
AO3 | 1 | 0 | 0 | FLOAT32 | 3 | -1 | -1
AO4 | 1 | 0 | 0 | FLOAT32 | 4 | -1 | -1
AO5 | 1 | 0 | 0 | FLOAT32 | 5 | -1 | -1
AO6 | 1 | 0 | 0 | FLOAT32 | 6 | -1 | -1
AO7 | 1 | 0 | 0 | FLOAT32 | 7 | -1 | -1
AO8 | 1 | 0 | 0 | FLOAT32 | 8 | -1 | -1
AO9 | 1 | 0 | 0 | FLOAT32 | 9 | -1 | -1
AO10 | 1 | 0 | 0 | FLOAT32 | 10 | -1 | -1
AO11 | 1 | 0 | 0 | FLOAT32 | 11 | -1 | -1
AO12 | 1 | 0 | 0 | FLOAT32 | 12 | -1 | -1
AO13 | 1 | 0 | 0 | FLOAT32 | 13 | -1 | -1
AO14 | 1 | 0 | 0 | FLOAT32 | 14 | -1 | -1
AO15 | 1 | 0 | 0 | FLOAT32 | 15 | -1 | -1
AO16 | 1 | 0 | 0 | FLOAT32 | 16 | -1 | -1

## SG
描述 | 标量因子 | 偏移量 | 单位 | 最小值 | 最大值 | 存库 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
SG0 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 0 | -1 | -1
SG1 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 1 | -1 | -1
SG2 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 2 | -1 | -1
SG3 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 3 | -1 | -1
SG4 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 4 | -1 | -1
SG5 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 5 | -1 | -1
SG6 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 6 | -1 | -1
SG7 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 7 | -1 | -1
SG8 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 8 | -1 | -1
SG9 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 9 | -1 | -1
SG10 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 10 | -1 | -1
SG11 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 11 | -1 | -1
SG12 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 12 | -1 | -1
SG13 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 13 | -1 | -1
SG14 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 14 | -1 | -1
SG15 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 15 | -1 | -1
SG16 | 1 | 0 | A | 0 | 1000 | No | 0 | INT32 | 16 | -1 | -1

## FT
描述 | 点模式 | 标量因子 | 偏移量 | 单位 | 存库 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
FT0 | Normal | 1 | 0 | A | No | 0 | INT32 | 0 | -1 | -1
FT1 | Normal | 1 | 0 | A | No | 0 | INT32 | 1 | -1 | -1
FT2 | Normal | 1 | 0 | A | No | 0 | INT32 | 2 | -1 | -1
FT3 | Normal | 1 | 0 | A | No | 0 | INT32 | 3 | -1 | -1
FT4 | Normal | 1 | 0 | A | No | 0 | INT32 | 4 | -1 | -1
FT5 | Normal | 1 | 0 | A | No | 0 | INT32 | 5 | -1 | -1
FT6 | Normal | 1 | 0 | A | No | 0 | INT32 | 6 | -1 | -1
FT7 | Normal | 1 | 0 | A | No | 0 | INT32 | 7 | -1 | -1
FT8 | Normal | 1 | 0 | A | No | 0 | INT32 | 8 | -1 | -1
FT9 | Normal | 1 | 0 | A | No | 0 | INT32 | 9 | -1 | -1
FT10 | Normal | 1 | 0 | A | No | 0 | INT32 | 10 | -1 | -1
FT11 | Normal | 1 | 0 | A | No | 0 | INT32 | 11 | -1 | -1
FT12 | Normal | 1 | 0 | A | No | 0 | INT32 | 12 | -1 | -1
FT13 | Normal | 1 | 0 | A | No | 0 | INT32 | 13 | -1 | -1
FT14 | Normal | 1 | 0 | A | No | 0 | INT32 | 14 | -1 | -1
FT15 | Normal | 1 | 0 | A | No | 0 | INT32 | 15 | -1 | -1
FT16 | Normal | 1 | 0 | A | No | 0 | INT32 | 16 | -1 | -1

## DiWave
通道标识 | 通道相位 | 监视回路元件 | 正常状态 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
DI0 | A |  | 0 | 0 | INT32 | 0 | -1 | -1
DI1 | B |  | 0 | 0 | INT32 | 1 | -1 | -1
DI2 | C |  | 0 | 0 | INT32 | 2 | -1 | -1
DI3 | N |  | 0 | 0 | INT32 | 3 | -1 | -1
DI4 | A |  | 0 | 0 | INT32 | 4 | -1 | -1
DI5 | B |  | 0 | 0 | INT32 | 5 | -1 | -1
DI6 | C |  | 0 | 0 | INT32 | 6 | -1 | -1
DI7 | N |  | 0 | 0 | INT32 | 7 | -1 | -1
DI8 | A |  | 0 | 0 | INT32 | 8 | -1 | -1
DI9 | B |  | 0 | 0 | INT32 | 9 | -1 | -1
DI10 | C |  | 0 | 0 | INT32 | 10 | -1 | -1
DI11 | N |  | 0 | 0 | INT32 | 11 | -1 | -1
DI12 | A |  | 0 | 0 | INT32 | 12 | -1 | -1
DI13 | B |  | 0 | 0 | INT32 | 13 | -1 | -1
DI14 | C |  | 0 | 0 | INT32 | 14 | -1 | -1
DI15 | N |  | 0 | 0 | INT32 | 15 | -1 | -1
DI16 | A |  | 0 | 0 | INT32 | 16 | -1 | -1

## AiWave
通道标识 | 通道相位 | 监视回路元件 | 单位 | 标量因子 | 偏移量 | 采样时延 | 最值小 | 最大值 | 一次比例因子 | 二次比例因子 | 一（二）次标识符 | 区号 | 数据类型 | 序号 | 子区号1 | 子区号2
AI0 | A |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 0 | -1 | -1
AI1 | B |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 1 | -1 | -1
AI2 | C |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 2 | -1 | -1
AI3 | N |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 3 | -1 | -1
AI4 | A |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 4 | -1 | -1
AI5 | B |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 5 | -1 | -1
AI6 | C |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 6 | -1 | -1
AI7 | N |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 7 | -1 | -1
AI8 | A |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 8 | -1 | -1
AI9 | B |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 9 | -1 | -1
AI10 | C |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 10 | -1 | -1
AI11 | N |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 11 | -1 | -1
AI12 | A |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 12 | -1 | -1
AI13 | B |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 13 | -1 | -1
AI14 | C |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 14 | -1 | -1
AI15 | N |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 15 | -1 | -1
AI16 | A |  | A | 1 | 0 | 0 | -32767 | 32767 | 500 | 1 | S | 0 | FLOAT32 | 16 | -1 | -1